## DEV. SHEET
Single-Family Equivalent (SFE) Calculator | [8 empty] | DO NOT SHOW (HIDE ON FORM)
TEAM INPUT NEEDED
Project/Development Name :
Applicant Name:
Applicant Phone Number:
Applicant E-mail Address:
Service Address:
Unit Type/Model Reference:
Project Information
Please fill in the blue boxes below | [8 empty] | Unit Type Dropdown
Select from Drop Down Unit Type |  |  |  |  | Residential |  |  |  | Residential
Enter Number of Like Units | [8 empty] | Residential
Commercial/Retail/Industrial
Enter Total Lot Size (Enter Square Feet): | [5 empty] | 0 |  |  | Restaurant/Fast Food
Enter Total Non-Irrigated Area, i.e. Building Roof, Driveway, Patio (Enter Square Feet): | [5 empty] | 0 |  |  | Park/Irrigation Only
Enter Total Purple Pipe or Xeriscape (zero demand) Irrigation (Enter Square Feet): | [5 empty] | 0 | =Lot Size - Hardscape - Reuse Water
[6 empty] | Irrigated Area: |  | 0
Enter Number of Bedrooms (Per Unit Average) or Hotel Room: | [6 empty] | =Bedrooms X 1.2 |  | (State Demographer Office Estimates 1.2 Person Per Room)
Enter Number of Total Employees Per Day (Non-Residential Only): | [6 empty] | =Employees X 1.2 |  | (State Demographer Office Estimates 1.2 Person Per Room)
Utility Impact - Tier Allocation
Landscape Area Water Use | [6 empty] | 15 | 0 | 328500 | 0
**Denver Water Estimates that Average Landscape Area Uses 15 Gallons Per Square Foot of Landscape Area a Year | [8 empty] | 75 watering days x 1/2" per watering day
Per Capita Water Use (Estimate .87 Person Per Room) | [6 empty] | 18250 | 0
**Denver Water Estimates that Average Per Capita Water Use is 50 Gallons Per Day or 18,250 Per Year Per Bedroom/Hotel Room | [6 empty] | 12775 | 0 | 75 watering days x 1/2" per watering day
**Denver Water Estimates that Average Per Capita Water Use is 35 Gallons Per Day or 12,775 Per Year Per Employee
Common Area Water Use, Such As Kitchen, Breakroom or Washroom. | [7 empty] | 0
**Denver Water Estimates that Typical Common Area Use is: 6,000 GPY Residential, 15,000 GPY Commercial, 200,000 GPY Restaurant | [8 empty] | 75 watering days x 1/2" per watering day
[5 empty] | Calculated Total Gallons Per Year Water Use: |  |  | #REF!
[7 empty] | STATUS: | OKAY, < 625 GPMD
Raw Water Dedication
Unit Conversions from Gallons to Acre Feet Per Year Use (325,851 gallons in 1 acre foot) | [7 empty] | 325851
[5 empty] | Calculated Estimated Acre Feet Per Year Use: |  |  | #REF!
[7 empty] | STATUS: | OKAY, < 0.34 A-F/year
[6 empty] | PER UNIT UTILITY TIER (GALLONS PER YEAR): |  | -0.1
| Gold - Tier | Wise - Tier I | Typical SFE - Tier II | Residential Estate SFE - Tier III | Small Office Retail - Tier IV | Commercial/ Other- Tier V
-7.1429e-07
SFE's Allocation: | .6 SFE's | .8 SFE's | 1 SFE's | 1.67 SFE's | 3.34 SFE'S | 5.34 SFE'S |  | Above Tier V to be set by special site-and use-specific application, review and agreement. | 1173648 |  | -0.017465
Min Gallons Per Year: | 0 GPY | 70,000 GPY | 90,000 GPY | 140,000 GPY | 240,000 GPY | 500,000 GPY
Max Gallons Per Year: | <69,999 GPY | <89,999 GPY | 139,999 GPY | 239,999 GPY | 499,999 GPY | 680,000 GPY
| 69999 | 89999 | 139999 | 239999 | 499999 | 680000
Water Development Fee: | 14670.6 | 19560 | 24451 | 40833 | 81666 | 130568
Sewer Development Fee: | 3433.2 | 4577.6 | 5722 | 9555.74 | 19111.48 | 30555.48
Facilities, Storm and Transportation Impact - Tier Allocation
Facilities, Storm and Transportation Impact
**Based on square footage allocation for usable space plus parking. | [5 empty] | PER UNIT IMPACT TIER: |  | -0.1
Impact Tier: | Gold - Tier | Wise - Tier I | Typical SFE - Tier II | Residential Estate SFE - Tier III | Small Office Retail - Tier IV | Commercial/ Other- Tier V
SFE's Allocation: | .6 SFE's | .8 SFE's | 1 SFE's | 1.67 SFE's | 3.34 SFE'S | 5.34 SFE'S |  | Above Tier V to be set by special site-and use-specific application, review and agreement. |  |  | -0.1
Min Useable Square Footage: | 0 SF | 1,200 SF | 2,500 SF | 5,000 SF | 8,700 SF | 20,000 SF |  |  |  |  | -2.0004e-05
Max Useable Square Footage: | <999 SF | <2,499 SF | 4,999 SF | 8,699 SF | 19,999 SF | 26,700 GPY |  |  |  |  | 4170
| 999 | 2499 | 4999 | 8699 | 19999 | 26700
Facilities Fee: | 1684.8 | 2246.4 | 2808 | 4689.36 | 9378.72 | 14994.72 |  |  |  |  | -0.083417
Storm Fee: | 339.6 | 452.8 | 566 | 945.22 | 1890.44 | 3022.44
Transportation Fee: | 477.6 | 636.8 | 796 | 1329.32 | 2658.64 | 4250.64
| 625 |  |  |  | 12500 | 110800 |  | 0.34006
1.67 | 1043.75 |  |  |  | 20875 | 185036 |  | 0.56789
3.34 | 2087.5 |  |  |  | 41750 | 370072 |  | 1.1358
5.34 | 3337.5 |  |  |  | 66750 | 591672 |  | 1.8159
40833.17
81666.34
130568.34
3/4-inch tap & meter | 1-inch meter 1-1/2-inch meter 2-inch meter |  |  |  | 3-inch tap & meter | HOTEL | HOTEL SFE:
2.62-inch
1.00 SFE's | 1.67 SFE's 3.34 SFE'S 5.34 SFE'S |  |  |  | Uses above 2-inch |  | 6.9954
15 GPM | 25 GPM 50 GPM 80 GPM |  |  |  | size to be by special | 130 GPM | 5.2
625 GPD | 1,050 GPD 2,100 GPD 3,350 GPD |  |  |  | site- and use-specific | 25,000 GPD | 40
12,500 gal/mo. | 21,000 gal/mo. 42,000 gal/mo. 67,000 gal/mo. |  |  |  | application, review | 775,000 gal/mo. | 62
110,800 gal/yr | 185,100 gal/yr 370,100 gal/yr 591,7000 gal/yr |  |  |  | and agreement. | 4,561,605 gal/yr | 41.1697
0.340 A-F/year | 0.568 A-F/year 1.136 A-F/year 1.816 A-F/year |  |  |  |  | 14 A-F/year | 41.1765
$ 24,451 | $ 40,833 $ 81,666 $ 130,568 |  |  |  |  | 189603 | 10.0853
1-inch meter | 1-1/2-inch meter | 2-inch meter | 2-inch meter
1.67 SFE's | 3.34 SFE'S | 5.34 SFE'S | 5.34 SFE'S
25 GPM | 50 GPM | 80 GPM | 80 GPM
1,050 GPD | 2,100 GPD | 3,350 GPD | 3,350 GPD
21,000 gal/mo | 42,000 gal/mo | 67,000 gal/mo | 67,000 gal/mo
185,100 gal/yr | 370,100 gal/yr | 591,7000 gal/yr | 591,7000 gal/yr
0.568 A-F/year | 1.136 A-F/year | 1.816 A-F/year | 1.816 A-F/year
40833 | 81666 | 130568 | 130568

## DATA
Water-Efficient Single-Family New Home Specification
Table 2. Expected Daily Per Capita Indoor Water Savings from WaterSense Labeled New Homes
Indoor Features | Standard Water Use | Standard Use (gal/day/capita) | WaterSense Criteria | Expected Use (gal/day/capita) | Expected Water Savings (gal/day/capita) | Bennett Average
Toilets | 1.6 gpf | 8.16 | 1.28 gpf | 6.53 | 1.63 (20%) | 7.345
Bathroom | 2.2 gpm | 11.21 | 1.5 gpm26 | 10.64 | 0.57 (5%) | 10.925
faucets Showerheads | 2.5 gpm | 10.33 | 2.5 gpm | 10.33 | 0 (0%) | 10.33
Hot water delivery | ~10 gallons per day per household wasted28 | 3.85 | Assume 10% water savings for insulation | 2.89 | 0.96 (25%) | 3.37
systems |  |  | and between 15 – 20%
water savings for
improved design.30
Dishwashers | 8.6 gallons per load31 | 1.04 | 5.8 gallons per load | 0.69 | 0.35 (33%) | 0.865
| (6 gallons per cycle)32 |  | (4 gallons per cycle)33
Clothes | 39.6 gallons per load34 | 15.35 | 24 gallons per load35 | 8.44 | 6.91 (45%) | 11.895
washers | (12 gallons per cycle per cubic foot) |  | (6 gallons per cycle per cubic foot)
|  | 49.94 |  | 39.52 |  | 44.73
18278.04
Total Indoor
24 Assumes 5.1 flushes/day/person per Mayer. P, DeOreo, W. et al 2000 and 2003.
25 Assumes flow of 1.2 gpm and average use of 9.34 minutes/person/day per Mayer , P., DeOreo, W. et al 2000 and 2003.
26 Assumes flow of 0.97 gpm and average use of 10.97 minutes/person/day per Mayer , P., DeOreo, W. et al 2000 and 2003.
27 Assumes flow of 2.13 gpm, average use of 8.36 min/shower/person, and 0.58 showers/person/day per Mayer P., DeOreo W. et al 2000 and 2003.
28 Klein, Gary. Hot Water Distribution Considerations for BMPs. Presentation made on August 21, 2006 to the California Urban Water Conservation Council.
29 Assumes 2.6 persons per household per U.S. Department of Housing and Urban Development 2005 .
30 Acker, L., Klein, G. Benefits of Demand-Controlled Pumping. Home Energy. September/October 2006.
31 Assumes 8.64 gallons/load and 0.12 loads/person per Mayer , P., DeOreo, W. et al 2000, 2003, and 2004.
32 ENERGY STAR Frequently Asked Questions on Dishwashers. <energystar.custhelp.com/cgi-bin/energystar.cfg/php/enduser/std_adp.php?p_faqid=2539&o_created…>accessed 2/15/08.
33 Ibid.
34 Assumes 39.36 gallons/load and 0.39 loads/person per Mayer , P., DeOreo, W. et al 2000, 2003, and 2004.
35 Assumes 24.15 gallons/load and 0.35 loads/person per Mayer , P., DeOreo, W. et al 2000, 2003, and 2004.
14 May 14, 2008